监听程序接口文档

**仪器：**

GM3000

**图片：**

**配置：** [{"MachID":"#RowID","Type":"Drect","UpTime":"20000","Address":"D:\\Lis2002\\GM3000\\result","UpCDF":"","UpREF":"","DealProcess":"MI.MIGM3000","Para":".txt","PreDealClass":"PreDeal.DealUPL,PreDeal","UPPreDealClass":""}]

**M:**

Class MI.MI GM3000 Extends %Persistent  
{  
  
//D ##class(MI.MI GM3000).fileMTHD("48","2016/01/14"\_$c(9)\_"24"\_$c(9)\_"β-hcg"\_$c(9)\_"接口号：761"\_$c(9)\_"55.18"\_$c(9,9)\_" 入库(E411新)OK"\_$c(9,9)\_"2016/01/14 11:04:21","24","","","","","","","","","","","",$c(0))  
  
ClassMethod fileMTHD(mi, record, epis, P3, P4, P5, P6, P7, P8, P9, P10, P11, P12, P13, Sessions, Output RowCount As %String) As %String  
{  
 s mi=$g(mi)  
   i '$d(^dbo.BTMIMachineParameterD(mi)) q ""  
 i '$l(record) q ""  
  d Trace^MI.MIF000(mi,record,"H<--M")  
  i $l(record,$c(9))<7 q ""  
  s (sample,result,date,time,QC)=""  
  s res=$p(record,$c(9),5)  
  s DateTime = $p(record,$c(9),9)  
  s epis = $p(record,$c(9),2)  
#; s date = $p(DateTime," ",1)  
#; s time = $p(DateTime," ",2)  
  s code = $p(record,$c(9),3)  
  i '$l(code) q ""  
  i code["β" s code=$tr(code,"β","Β")  
#; i (mi="48"),(code="β-hcg") s ^SZW111=$lb(mi, record, epis, P3, P4, P5, P6, P7, P8, P9, P10, P11, P12, P13, Sessions)  
  s result=result\_code\_$c(92)\_res\_$c(44)  
  d Trace^MI.MIF000(mi,epis\_":"\_result,"H<--M")  
 i $l(epis),$l(result) d Save^MI.MIF000(mi, epis, result, date, time, QC)  
 i $l(epis) s retVal=$$ReceiveLabno^MI.MIF000(mi,epis,"")  
 q ""  
}  
  
}