监听程序接口文档

**仪器：**

PCR7500

**图片：**

**配置：**

[{"MachID":"#RowID","Type":"Drect","UpTime":"3000","Address":"C:\\PCR7500","UpCDF":"","UpREF":"","DealProcess":"MI.PCR7500","Para":".txt","PreDealClass":"PreDeal.DealDemo,PreDeal","UPPreDealClass":""}]

**M:**

Class MI.PCR7500 Extends %Persistent  
{  
  
ClassMethod fileMTHD(mi, record, epis, P3, P4, P5, P6, P7, P8, P9, P10, P11, P12, P13, Sessions, Output RowCount As %String) As %String  
{  
 s mi=$g(mi)  
   i '$d(^dbo.BTMIMachineParameterD(mi)) q  
 i '$l(record) q  
  d Trace^MI.MIF000(mi,record,"H<--M")  
  s (sample,epis,result,date,time,QC,recordCode)=""  
  s record=$tr(record,",","^")  
  s epis=$tr($p(record," ",2)," ")  
  i epis ="SampleName" q   
  s recordCode="Well Sample Name Sample Color Biogroup Name Biogroup Color Target Name Target Color Task Reporter Quencher"  
  f i=1:1:$l(record," ") d  
  .s code=$tr($p(recordCode," ",i)," ")  
  .s res=$tr($p(record," ",i)," ")  
  .i $l(code)&&$l(res) s result=result\_code\_$c(92)\_res\_$c(44)  
 i $l(epis),$l(result) d ##Class(MI.Common.MIFBase).Save(mi, epis, result, date, time, QC)  
 q ""  
}  
  
}